# SECTION 1: General Information

| Customer |  |
| --- | --- |
| Project |  |
| Resistor quantity requested |  |
| Resistor supply from/to |  |
| Reference standards | IEE32; IEC 60694; IEC 60439; IEC 60529 |
| Additional reference standards |  |

SECTION 2: Site Information

| Ambient temperature (°C) | Min Max m | Altitude (m) | <1000m >1000m (please state ) |
| --- | --- | --- | --- |
| Type of Environment | Marine Heavy Industrial H2S contaminated Other (please state ) |  |  |

SECTION 3: Main Data (*compulsory fields)

| Voltage Un (kV) * |  | Fault Current (A) * |  |
| --- | --- | --- | --- |
| Fault Duration (s) * | 10s (standard) Other, please state Continuous |  |  |
| Continuous Current (if any, A) |  | Maximum Allowed Temperature Rise (°C) |  |
| IP protection degree | IP00 IP20 IP23 Other (please state ) |  |  |
| Enclosure Finish | Mild Galvanised (standard) AISI430 AISI304 AISI316 Other (please state ) Painting (please state RAL ) |  |  |
| Cable Entry | From Bottom (standard) From top Top-mounted Bushing Side-mounted Bushing Other (please state )m |  |  |
| Cable Output | From Bottom (standard) From top Top-mounted Bushing Side-mounted Bushing Other (please state )m |  |  |

SECTION 4: Accessories

| Current Transformer | Ratio / A Precision Class P Accuracy VA |
| --- | --- |
| Space heater | W |
| Disconnector | Off Load (standard, please state current ) On Load (please state current ) Motor Driven Interlocked |
| Contactor |  |
| Switch |  |
| Bolted Link |  |

| Notes: | ………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………… |
| --- | --- |